## facility_registry
facility_id | facility_name | sq_footage | is_online | last_reading_at | spike_kwh_threshold | spike_duration_threshold_min | confidence_threshold | notification_pref
FAC-001 | Chicago South DC | 220000 | TRUE | 2026-08-04 05:40 | 20 | 60 | 0.75 | both
FAC-002 | Indianapolis East | 185000 | TRUE | 2026-08-04 05:57 | 20 | 60 | 0.75 | both
FAC-003 | Milwaukee Central | 145000 | TRUE | 2026-08-04 06:00 | 20 | 60 | 0.75 | both

## system_registry
system_id | facility_id | system_name | system_type | cost_per_fault_usd
SYS-001 | FAC-001 | Refrigeration Zone A | refrigeration | 9500
SYS-002 | FAC-001 | HVAC Unit 1 | hvac | 4200
SYS-003 | FAC-001 | Lighting Grid North | lighting | 1800
SYS-004 | FAC-002 | Refrigeration Zone B | refrigeration | 11000
SYS-005 | FAC-002 | HVAC Unit 2 | hvac | 3900
SYS-006 | FAC-002 | Compressor Bank | refrigeration | 14500
SYS-007 | FAC-003 | Refrigeration Zone A | refrigeration | 8800
SYS-008 | FAC-003 | HVAC Unit 3 | hvac | 4100
SYS-009 | FAC-003 | Lighting Grid South | lighting | 1600

## classification_registry
classification_id | top_level_class | subtype_label | system_type | severity | typical_cost_usd | recommended_action | description
CT-001 | equipment_fault | Compressor Fault | refrigeration | critical | 12000 | dispatch | Rapid rise and sustained plateau suggests compressor start-fail pattern.
CT-002 | equipment_fault | Refrigerant Leak | refrigeration | critical | 18500 | dispatch | Gradual rise with no return to baseline indicates possible refrigerant loss.
CT-003 | equipment_fault | HVAC Fan Failure | hvac | warning | 3200 | dispatch | Intermittent spike pattern consistent with fan belt slippage or motor wear.
CT-004 | equipment_fault | HVAC Filter Blockage | hvac | warning | 1800 | monitor | Sustained elevated draw typical of restricted airflow through clogged filter.
CT-005 | equipment_fault | Lighting Control Fault | lighting | informational | 600 | monitor | Brief spike matches lighting controller reset or override event.
CT-006 | equipment_fault | Door Seal Failure | refrigeration | warning | 4500 | dispatch | Slow rise during off-hours matches heat ingress from damaged door gasket.
CT-007 | equipment_fault | Power Surge | other | warning | 2200 | monitor | Sharp instantaneous spike likely caused by grid event or equipment startup.
CT-008 | operational_variation | Peak Throughput Day | any | informational | 0 | dismiss | Elevated load across all systems consistent with high-volume shipping day. No fault signature.
CT-009 | operational_variation | Unscheduled Overtime Shift | any | informational | 0 | dismiss | Spike timing and duration match an additional shift window not in the standard schedule.
CT-010 | operational_variation | Weather-Driven HVAC Surge | hvac | informational | 0 | dismiss | Spike magnitude is proportional to temperature deviation; within expected weather-adjusted range.
CT-011 | operational_variation | Temporary Equipment Rental | any | informational | 0 | dismiss | Load profile consistent with temporary high-draw equipment (e.g. portable refrigeration unit).
CT-012 | data_anomaly | Meter Dropout | any | informational | 0 | dismiss | Zero or near-zero reading followed by a compensatory spike — consistent with meter communication dropout.
CT-013 | data_anomaly | Sensor Noise Spike | any | informational | 0 | dismiss | Instantaneous single-interval spike with immediate return to baseline — likely sensor noise.
CT-014 | data_anomaly | Communication Error | any | informational | 0 | dismiss | Reading is implausibly large (>5x historical max) — likely a data transmission error, not a real consumption event.